## Sheet1
Title | Date (latest version) | Sector | Language | Standards Organization | Scope | Keywords | Link
ASTM E1705 - 15 Standard Terminology Relating to Biotechnology | 2015 | Bioenergy, Biomaterials | English | ASTM | Standard includes terminology used in biotechnology areas, such as, but not limited to: biological drug products, materials for biotechnology, characterization and identification of biological systems, biomass conversion, fuel manufacturing facilities, and fuel analysis | terminology, biotechnology, biological drug products, materials for biotechnology, characterization, identification, biological systems, biomass conversion, fuel manufacturing facilities, fuel analysis | https://www.astm.org/Standards/E1705.htm
ASTM E1721 - 01(2015) Standard Test Method for Determination of Acid-Insoluble Residue in Biomass | 2015 | Bioenergy, Biomaterials | English | ASTM | Determination of the acid-insoluble residue of hard and soft woods, herbaceous materials, agricultural residues and solid fraction of fermentation residues | acid-insoluble content, agricultural residue, agricultural residues and wastes, biomass, biomass and conversion, hardwood, insoluble matter content, softwood, waste, wastepaper, wood | https://www.astm.org/Standards/E1721.htm
ASTM E1755 - 01(2015) Standard Test Method for Ash in Biomass | 2015 | Bioenergy, Biomaterials | English | ASTM | Determination of ash, expressed as the mass % residue remaining after dry oxidation of hard and soft woods, herbaceous materials, agricultural residues and solid fraction of fermentation residues | agricultural residue, agricultural residues and wastes, ash, ash content, biomass, biomass and conversion, oxidation, waste | http://www.astm.org/Standards/E1755.htm
ASTM E1756 - 08(2015) Standard Test Method for Determination of Total Solids in Biomass | 2015 | Bioenergy, Biomaterials | English | ASTM | Determination of the amount of total solids remaining after drying a sample for particulate wood fuels | agricultural residue, agricultural residues and wastes, biomass, biomass and conversion, chemical composition, total solids content | https://www.astm.org/Standards/E1756.htm
ASTM E1757 - 01(2015) Standard Practice for Preparation of Biomass for Compositional Analysis | 2015 | Bioenergy, Biomaterials | English | ASTM | Practice covers a reproducible way to convert hardwoods, softwoods, herbaceous materials, agricultural residues and fermentation residues into a uniform material suitable for compositional analysis | agricultural residue, agricultural residues and wastes, biomass, biomass and conversion, chemical analysis, compositional analysis, fermentation, hardwood, herbaceous materials, plants, softwood, waste, wastepaper | https://www.astm.org/Standards/E1757.htm
ASTM E1821 - 08(2015) Standard Test Method for Determination of Carbohydrates in Biomass by Gas Chromatography | 2015 | Bioenergy, Biomaterials | English | ASTM | Determination of structural carbohydrates present in a biomass sample for hard and softwoods, herbaceous materials, agricultural residues, acid or alkaline-pretreated biomass and the solid fraction of fermentation residues | agricultural residue, agricultural residues and wastes, biomass, biomass and conversion, carbohydrate content, carbohydrate distribution, fermentation residue, gas chromatography, hardwood, organic matter content, softwood, waste | https://www.astm.org/Standards/E1821.htm
ASTM WK54849 New Terminology for Industrial Biotechnology (UNDER DEVELOPMENT) |  | Bioenergy, Biomaterials | English | ASTM | Standard is a repository for the terms, and their corresponding definitions, as relate to the technical standards to be generated by Committee E62 on Industrial Biotechnology | biobased product, bioproduct, industrial biotechnology
ASTM E1758 - 01(2015) Standard Test Method for Determination of Carbohydrates in Biomass by High Performance Liquid Chromatography | 2015 | Biofuels, Biochemicals, Bioenergy, Biomaterials | English | ASTM | Determination of carbohydrates present in a biomass sample, expressed as %, by mass, of each sugar on a dried mass basis for hard and soft woods, herbaceous materials, agricultural residues and the solid fraction of fermentation residues | agricultural residue, agricultural residues and wastes, arabinose, biomass, biomass and conversion, carbohydrate content, fermentation residue, galactose, high-performance liquid chromatography, organic matter content, waste, wastepaper, xylose | https://www.astm.org/Standards/E1758.htm
CAN/CGSB-32.300-M87 Canola Oil, Crude, Degummed and Refined (Withdrawn but still available) | 1987 | Biofuels, Biochemicals, Biomaterials | English, French | CGSB | Standard applies to canola oil produced from commercial canola seeds derived from the species Brassica napus L. or Brassica campestris L., or both and intended for use in the manufacture of food products | Canola oil | http://www.techstreet.com/cgsb/standards/can-cgsb-32-300-m87?product_id=1089593#jumps
CAN/CGSB-32.303-M90 Soya Oil | 1990 | Biofuels, Biochemicals, Biomaterials | English, French | CGSB | Standard applies to crude soya oil and to refined soya oil produced from commercial soya beans (the seeds of Clycine max L. Merr) and is suitable for cooking | soya oil, soya beans, refined oil | http://www.techstreet.com/cgsb/standards/can-cgsb-32-303-m90?product_id=1089597
NREL/TP-510-42618 Determination of Structural Carbohydrates and Lignin in Biomass - Laboratory Analytical Procedure | 2012 | Biofuels, Biochemicals, Biomaterials | English | NREL | This procedure is appropriate for biomass containing the components listed throughout the procedure and uses a two-step acid hydrolysis to fractionate the biomass into forms that are more easily quantified. | carbohydrates, lignin, biomass, structural, non-structural, extraction, phenolic polymer, acid hydrolysis, fractionate, lignin fractionates, ash, protein, gravimetric analysis, acid soluble lignin, UV-Vis spectroscopy, polymeric carbohydrates, monomeric forms, HPLC, acetyl content, hemicellulose, xylan backbone, mannan backbone | http://www.nrel.gov/docs/gen/fy13/42618.pdf
NREL/TP-510-42619 Determination of Extractives in Biomass - Laboratory Analytical Procedure | 2005 | Biofuels, Biochemicals, Biomaterials | English | NREL | This procedure covers the determination of soluble non-structural materials in a biomass sample and includes determining the amount of water extractable sucrose. Results are reported, on a dry weight basis, as a weight percentage of the biomass | soluble non-structural materials, biomass sample, water extractable sucrose, dry weight basis, two-step extraction, extractives, biomass samples, water soluble material, corn stover, quantifiable carbohydrates, Ethanol, hardwoods, softwoods | http://www.nrel.gov/docs/gen/fy08/42619.pdf
NREL/TP-510-42620 Preparation of Samples for Compositional Analysis - Laboratory Analytical Procedure | 2008 | Biofuels, Biochemicals, Biomaterials | English | NREL | This procedure describes a reproducible way to convert a variety of biomass samples into a uniform material suitable for compositional analysis and is substantially similar to ASTM Standard Practice E 1757 and is not intended for materials that cannot be dried to a total solids content of greater than 90% of the sample’s oven dried weight | biomass samples, uniform material, compositional analysis, total solids content, oven dried weight, ODW | http://www.nrel.gov/docs/gen/fy08/42620.pdf
NREL/TP-510-42621 Determination of Total Solids in Biomass and Total Dissolved Solids in Liquid Process Samples - Laboratory Analytical Procedure | 2008 | Biofuels, Biochemicals, Biomaterials | English | NREL | Methods used to determine the amount of solids or moisture present in a solid or slurry biomass sample and also covers the determination of dissolved solids in a liquor sample. Includes convection oven drying procedure and also automatic infrared moisture analyzer | oven dry weight, ODW, weight of biomass, mathematically corrected, moisture, total solids, constant weight, total dissolved solids, filtered liquor sample, prepared biomass, pretreated biomass, chemically or thermally altered, structural composition, slurry | http://www.nrel.gov/docs/gen/fy08/42621.pdf
NREL/TP-510-42622 Determination of Ash in Biomass - Laboratory Analytical Procedure | 2005 | Biofuels, Biochemicals, Biomaterials | English | NREL | This procedure a measure of structural ash is inorganic material that is bound in the physical structure of the biomass, is applicable to hard and soft woods, herbaceous materials, agricultural residues, wastepaper, and solid fraction process samples and is substantially similar to ASTM E1755 | oven dry weight, ODW, weight of biomass, mathematically, moisture, prepared biomass, ash, inorganic residue | http://www.nrel.gov/docs/gen/fy08/42622.pdf
NREL/TP-510-42623 Determination of Sugars, Byproducts, and Degradation Products in Liquid Fraction Process Samples - Laboratory Analytical Procedure | 2006 | Biofuels, Biochemicals, Biomaterials | English | NREL | Procedure is used to characterize liquid process samples, including pretreatment liquors, liquid fermentation samples, and liquid fractions of process solids and is appropriate for biomass containing the components listed throughout the procedure | carbohydrates, polysaccharides, glucose, xylose, arabinose, galactose, mannose, polysaccharides, hydrolyzed, HPLC with refractive index detection, carbohydrate degradation products, HMF and furfural, organic acids, sugar alcohols | http://www.nrel.gov/docs/gen/fy08/42623.pdf
NREL/TP-510-42625 Determination of Protein Content in Biomass - Laboratory Analytical Procedure | 2008 | Biofuels, Biochemicals, Biomaterials | English | NREL | Determination of nitrogen-to-protein conversion factors that are used to estimate the amount of protein in a biomass sample, is appropriate for most types of biomass, including extractives-free biomass and is suitable for biomass feedstocks, process solids, and process liquids | oven dry weight, ODW, weight of biomass, mathematically corrected, moisture, nitrogen Factor, conversion factor, protein content, nitrogen content, nitrates, nitrites, chlorophyll, nucleic acids, free amino acids | http://www.nrel.gov/docs/gen/fy08/42625.pdf
NREL/TP-510-42627 Determination of Insoluble Solids in Pretreated Biomass Material - Laboratory Analytical Procedure | 2008 | Biofuels, Biochemicals, Biomaterials | English | NREL | Procedure is used to separate the liquid and solid fractions of a pretreated biomass slurry. It is used to calculate the weight percent of insoluble material in biomass slurry and is also used to remove any residual liquor from the solid fraction | oven dry weight, ODW, weight of biomass, moisture, pretreated biomass, chemically or thermally altered, structural composition, slurry, liquor, liquid fraction, biomass slurry, fraction insoluble solids, FIS, fraction insoluble solids dry, FISD, fraction insoluble solids slurry, FISS | http://www.nrel.gov/docs/gen/fy08/42627.pdf
NREL/TP-5100-63351 Low Solids Enzymatic Saccharification of Lignocellulosic Biomass - Laboratory Analytical Procedure | 2015 | Biofuels, Biochemicals, Biomaterials | English | NREL | Procedure describes the enzymatic saccharification of native or pretreated lignocellulosic biomass to glucose, cellobiose, and xylose in order to determine the comparative digestibility/conversion extent of the feedstock or the efficacy of various enzyme samples and is appropriate for lignocellulosic biomass and model cellulose | pretreated biomass, chemically and/or thermally altered, chemical structure, chemical composition, lignocellulase enzyme cocktails, enzyme preparation, synergistic activities, cellulolytic, hemicellulolytic, lignocellulose-degrading activities, enzyme activities | http://www.nrel.gov/docs/fy15osti/63351.pdf
EN ISO 15103-2:2007 Plastics - Poly(phenylene ether) (PPE) moulding and extrusion materials - Part 2: Preparation of test specimens and determination of properties (ISO 15103-2:2007) | 2007 | Biofuels, Biochemicals, Biomaterials, Bioenergy | English, French, German | CEN | Specifies the methods of preparation of test specimens and the test methods to be used in determining the properties of poly(phenylene ether) molding and extrusion materials | test specimens, test methods, properties, poly(phenylene ether), molding, extrusion materials | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:27139,6230&cs=1C05B625FCE0059962129587965679A19
EN ISO 15148:2002 Hygrothermal performance of building materials and products - Determination of water absorption coefficient by partial immersion (ISO 15128:2002) | 2002 | Biofuels, Biochemicals, Biomaterials, Bioenergy | English, French, German | CEN | Standard specifies a method for determining, by partial immersion with no temperature gradient, the short-term liquid water absorption coefficient | partial immersion, liquid water absorption coefficient, water absorption, hygrothermal | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:2307,6072&cs=18660E8CBA9A60749E081AB47A37D9EB1
EN ISO 11701:2009 Determination of phospholipids content in lecithins by HPLC using a light-scattering detector (ISO 11701:2009) | 2009 | Biofuels, Biomaterials, Biochemicals | English, French, German | CEN | Method for determination of phospholipids content by high performance liquid chromatography (HPLC) using a light-scattering detector and is applicable to crude, oil-containing lecithins, and to oil-free lecithins and lecithin fractions from vegetable fats and oils | phospholipids content, high performance liquid chromatography, HPLC, light-scattering detector, crude vegetable oil, oil-containing lecithins, oil-free lecithins, lecithin fractions, vegetable fats and oils | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:32113,6288&cs=109EE0158477A495D8E252AC748DE10B7
EN ISO 9167-1:1995 Rapeseed - Determination of glucosinolates content - Part 1: Method using high-performance liquid chromatography (ISO 9167-1:1992) | 1995 | Biofuels, Biomaterials, Biochemicals | English, French, German | CEN | Method specified is based on extraction by methanol, purification and enzymatic desulfatation, determination using reversed-phase chromatography but does not determine glucosinolates which are substituted on the glucose molecule | extraction, enzymatic desulfatation, reversed-phase chromatography, glucosinolates, glucose | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:14943,6288&cs=1444739DA5D839CEC1FD687D89237840E
CEN/TS 16295:2012 Plastics - Declaration of the bio-based carbon content | 2012 | Biomaterials | English, French, German | CEN | Specification provides requirements for the declaration of the bio-based carbon content of items, such as polymers, plastic materials, semi-finished plastic products and finished plastic products, including composites | specification, requirements, bio-based carbon content, polymers, plastic materials, semi-finished plastic products, finished plastic products, composites | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:32747,6230&cs=135E4AC84D80FBB0F4282B3B38E265CA0
EN 16760:2015 Bio-based products - Life Cycle Assessment | 2015 | Biomaterials | English, French, German | CEN | Standard provides specific life cycle assessment (LCA) requirements and guidance for bio-based products, excluding food, feed and energy, based on EN ISO 14040 and EN ISO 14044 | life cycle assessment, LCA, bio-based products | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:39303,874780&cs=1AFFBCD3705045FEB33E9A3EF10F37F31
CEN/TS 16137:2011 Plastics - Determination of bio-based carbon content | 2011 | Biomaterials | English, French, German | CEN | Specification specifies a calculation method for the determination of the bio-based carbon content in monomers, polymers and plastic materials and products, based on the carbon 14 content measurement | specification, calculation method, bio-based carbon content, monomers, polymers, plastic materials | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:35196,6230&cs=1AD515D5CE0DD6A4DCF692D7B77CA9C76
CEN/TS 16398:2012 Plastics - Template for reporting and communication of bio-based carbon content and recovery options of biopolymers and bioplastics - Data sheet | 2012 | Biomaterials | English, French, German | CEN | Specification specifies a template for reporting of characteristics covering bio-based carbon content and recovery options of a given item in commercial business-to-business transactions by means of a specific data sheet for biopolymers and bioplastics | specification, reporting, characteristics, bio-based carbon content, recovery options, data sheet, biopolymers, bioplastics | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:35474,6230&cs=1FAAE86ADA082F18E0D118F1CC97CDC3B
CEN/TS 16640:2014 Bio-based products - Determination of the bio based carbon content of products using the radiocarbon method | 2014 | Biomaterials | English, French, German | CEN | Specification specifies a method for the determination of the bio-based carbon content in products, based on the carbon 14 content measurement | specification, determination, bio-based carbon content, products, carbon 14 content, radiocarbon analysis | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:38480,874780&cs=1AC86A60567CBDBAC876DDA9212DD93DD
EN 16751:2016 Bio-based products - Sustainability criteria | 2016 | Biomaterials | English, French, German | CEN | Standard sets sustainability criteria applicable to the bio-based part of all bio-based products, excluding food, feed and energy, covering all three pillars of sustainability; environmental, social and economic aspects | sustainability criteria, bio-based, bio-based products, sustainability, environmental, social, economic | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:39302,874780&cs=1C217387307361732C25B757AE322E2EA
EN 16785-1:2015 Bio-based products - Bio-based content - Part 1: Determination of the bio-based content using the radiocarbon analysis and elemental analysis | 2015 | Biomaterials | English, French, German | CEN | Standard specifies a method of determining the bio-based content in products, based on the radiocarbon analysis and elemental analysis and is applicable to any solid, liquid and gaseous product containing carbon element | bio-based content, products, radiocarbon analysis, elemental analysis, solid product, liquid product, gaseous product, carbon element | https://standards.cen.eu/dyn/www/f?p=204:110:0::::FSP_PROJECT,FSP_ORG_ID:40882,874780&cs=17A1DD47DB1BB186D4D020A9D16B7D8F5
ASTM D4875 - 11 StandardTest Methods of Polyurethane Raw Materials: Determination of the Polymerized Ethylene Oxide Content of Polyether Polyols | 2011 | Biomaterials | English | ASTM | Test method measures polymerized ethylene oxide (EO) in ethylene oxide-propylene oxide polyethers used in flexible urethane foams and nonfoams. Measurements of EO content correlate with polyol reactivity. Proton Nuclear Magnetic Resonance Spectroscopy (1H NMR) and 13C NMR (preferred method for measuring low levels less than 10 %) | polymerized ethylene oxide, EO, ethylene oxide-propylene oxide polyethers, flexible urethane foams, nonfoams, polyol reactivity, proton nuclear magnetic resonance spectroscopy, 1H NMR, 13C NMR | https://www.astm.org/Standards/D4875.htm
ASTM C165 - 07(2012) Standard Test Method for Measuring Compressive Properties of Thermal Insulations | 2012 | Biomaterials | English | ASTM | Test method covers two procedures for determining the compressive resistance of thermal insulations | compressive resistance, thermal insulations | http://www.astm.org/Standards/C165.htm
ASTM C168 - 15a Standard Terminology Relating to Thermal Insulation | 2015 | Biomaterials | English | ASTM | Standard provides definitions, symbols, units, and abbreviations of terms used in ASTM standards pertaining to thermal insulating materials, and to materials associated with them | definitions, symbols, units, abbreviations, thermal insulating materials, materials | http://www.astm.org/Standards/C168.htm
ASTM C208 - 12 Standard Specification for Cellulosic Fiber Insulating Board | 2012 | Biomaterials | English | ASTM | Specification covers the principal cellulosic fiber insulating board types, grades, and sizes. Requirements are specified for composition, construction, physical properties, tolerances, sampling procedures, and test methods | specification, cellulosic fiber, insulating board, grades, composition, construction, physical properties, tolerances, sampling procedures, test methods | http://www.astm.org/Standards/C208.htm
ASTM C209 - 15 Standard Test Methods for Cellulosic Fiber Insulating Board | 2015 | Biomaterials | English | ASTM | Test methods are intended for cellulosic fiber insulating board and examine mechanical, physical and thermal properties, properties related to water absorption and water vapor exposure, and flammability related properties and are suitable to describe the performance of insulating board and are also suitable for use in material specifications | cellulosic fiber, insulating board, mechanical properties, physical properties, thermal properties, water absorption, water vapor, flammability, performance, insulating board, material specifications | http://www.astm.org/Standards/C209.htm
ASTM C846 - 94(2009) Standard Practice for Application of Cellulosic Fiber Insulating Board for Wall Sheathing | 2009 | Biomaterials | English | ASTM | Practice covers the requirements for storing, handling, and application of cellulosic fiber insulating board products | cellulosic fiberboard, cellulosic fiber, fiberboard; insulating board, wall sheathing, thermal insulation applications, board thermal insulation, cellulose fiber thermal insulation, fiberboard, handling material, installation, thermal insulating materials, insulating board, intermediate density, structural wall sheathing | http://www.astm.org/Standards/C846.htm
ASTM D9 -12 Standard Terminology Relating to Wood and Wood-Based Products | 2012 | Biomaterials | English | ASTM | This terminology covers a repository of definitions essential for the business of Committee D07 on Wood and currently has jurisdiction of over 116 standards, published in the Annual Book of ASTM Standards, Volume 04.10. D07 | terminology, definitions, Committee D07 on wood | http://www.astm.org/Standards/D9.htm
ASTM D143 - 14 Standard Test Methods for Small Clear Specimens of Timber | 2014 | Biomaterials | English | ASTM | Test methods on small clear specimens of wood that are made to provide data for comparing the mechanical properties of various species, data for the establishment of correct strength functions, which in conjunction with results of tests of timbers in structural sizes, to afford a basis for establishing allowable stresses | tests, small clear specimens, wood, mechanical properties, various species, strength functions, timbers, structural sizes, allowable stresses | http://www.astm.org/Standards/D143.htm
ASTM D198 - 15 Standard Test Methods of Static Tests of Lumber in Structural Sizes | 2015 | Biomaterials | English | ASTM | These test methods cover the evaluation of lumber and wood-based products in structural sizes by various testing procedures including Flexure, Compression (Short Specimen), Compression (Long Specimen), Tension, Torsion, Shear Modulus | test methods, evaluation of lumber, wood-based products, structural sizes, flexure, compression, short specimen, compression, long specimen, tension, torsion, shear modulus | http://www.astm.org/Standards/D198.htm
ASTM D245 - 06(2011) Standard Practice for Establishing Structural Grades and Related Allowable Properties for Visually Graded Lumber | 2011 | Biomaterials | English | ASTM | Practice covers the basic principles for establishing related unit stresses and stiffness values for design with visually-graded solid sawn structural lumber and starts with property values from clear wood specimens and includes necessary procedures for the formulation of structural grades of any desired strength ratio | practice, unit stresses, stiffness values, design, visually-graded, solid sawn, structural lumber, clear wood specimens, structural grades, strength ratio | http://www.astm.org/Standards/D245.htm
ASTM D1037 - 12 Standard Test Methods for Evaluating Properties of Wood-Base Fiber and Particle Panel Materials | 2012 | Biomaterials | English | ASTM | Test methods cover small-specimen tests for wood-base fiber and particle panel materials that are made to provide data for comparing the mechanical and physical properties of various materials, for determining post-treatments of panels and include hardness modulus, interlaminar shear, linear expansion and numerous other tests | wood-base fiber, particle panel materials, mechanical properties, physical properties, post-treatments, panels, hardness modulus, interlaminar shear, linear expansion | http://www.astm.org/Standards/D1037.htm
ASTM D1038 - 11 Standard Terminology Relating to Veneer and Plywood | 2011 | Biomaterials | English | ASTM | Standard Terminology Relating to Veneer and Plywood includes plywood, wood veneer, wood veneer-based materials | plywood, wood veneer, wood veneer-based materials | http://www.astm.org/Standards/D1038.htm
ASTM D1102 - 84(2013) Standard Test Method for Ash in Wood | 2013 | Biomaterials | English | ASTM | Determination of ash, expressed as the percentage of residue remaining after dry oxidation (oxidation at 580 to 600°C), of wood or wood products. The ash content is an approximate measure of the mineral content and other inorganic matter in wood | ash, residue, dry oxidation, wood, wood products, ash content, mineral content, inorganic matter, chemical analysis | http://www.astm.org/Standards/D1102.htm
ASTM D1105 - 96(2013) Standard Test Method for Preparation of Extractive-Free Wood | 2013 | Biomaterials | English | ASTM | Test method for preparation of extractive-free wood and is applicable to all North American woods. Extractives in wood consist of materials that are soluble in neutral solvents and that are not a part of the wood | extractive-free wood, soluble, neutral solvents, chemical analysis, extraction, soxhlet extraction, wood, chemical analysis | http://www.astm.org/Standards/D1105.htm
ASTM D1106 - 96(2013) Standard Test Method for Acid-Insoluble Lignin in Wood | 2013 | Biomaterials | English | ASTM | Determination of the acid-insoluble lignin content of wood. Wood contains approximately 20 to 30 % lignin and determination of the lignin content provides information for the evaluation and application of additional processes | acid-insoluble lignin content, chemical analysis, insoluble matter content, soxhlet extraction apparatus, wood | http://www.astm.org/Standards/D1106.htm
ASTM D1110 - 84(2013) Standard Test Methods for Water Solubility of Wood | 2013 | Biomaterials | English | ASTM | Two test methods cover the determination of the water solubility of wood including cold-water solubility that is a measure of the tannins, gums, sugars, and coloring matter in the wood and hot-water solubility that is a measure of the tannins, gums, sugars, coloring matter, and starches in the wood | water, solubility, tannins, gums, sugars, coloring matter, starches, wood, chemical composition, chemical content | http://www.astm.org/Standards/D1110.htm
ASTM D1165 - 13 Standard Nomenclature of Commercial Hardwoods and Softwoods | 2013 | Biomaterials | English | ASTM | Commercial species group names are listed with common tree and botanical names. Commercial names are representative of commercial practice in the United States and Canada | commercial hardwood, commercial softwood, hardwood, nomenclature, softwood, standardization, terminology | http://www.astm.org/Standards/D1165.htm
ASTM D1554 - 10(2016) Standard Terminology Relating to Wood-Base Fiber and Particle Panel Materials | 2016 | Biomaterials | English | ASTM | Terminology standard covers a repository of terms and classifications that pertain to cellulosic boards or panel products derived from wood and the woody tissue of such plants as bagasse, flax, and straw | fiber, particle panel materials, wood-based fiber materials, wood-based particle panels | http://www.astm.org/Standards/D1554.htm
ASTM D1666 - 11 Standard Test Methods for Conducting Machining Tests of Wood and Wood-Base Materials | 2011 | Biomaterials | English | ASTM | Test methods cover procedures for planing, routing/shaping, turning, mortising, boring, and sanding, all of which are common wood-working operations used in the manufacture of wood products | machining, wood, wood products | http://www.astm.org/Standards/D1666.htm
ASTM D1990 - 16 Standard Practice for Establishing Allowable Properties for Visually-Graded Dimension Lumber from In-Grade Tests of Full-Size Specimens | 2016 | Biomaterials | English | ASTM | Practice is intended to be used to establish allowable stress and modulus of elasticity values for solid sawn, visually graded dimension lumber from In-Grade type test data. These procedures apply to the tested and untested sizes and grades when an adequate data matrix of sizes and grades exists | allowable stress, lumber, mechanical test, modulus of elasticity, solid sawn lumber, stress and strain, visually graded dimension lumber | http://www.astm.org/Standards/D1990.htm
ASTM D2394 - 05(2011) Standard Test Methods for Simulated Service Testing of Wood and Wood-Base Finish Flooring | 2011 | Biomaterials | English | ASTM | Test methods cover procedures for measuring the performance of finish flooring under the prescribed service loadings and conditions | accelerated aging test, flooring, flooring and floor covering systems, mechanical properties, mechanical test, simulated service test, wood, wood products | http://www.astm.org/Standards/D2394.htm
ASTM D2395 - 14e1 Standard Test Methods for Density and Specific Gravity (Relative Density) of Wood and Wood-Based Materials | 2014 | Biomaterials | English | ASTM | Determination of the density and specific gravity (relative density) of wood and wood-based materials to generally desired degrees of accuracy and for specimens of different sizes, shapes, and moisture content conditions | density, relative density, dimension, moisture content, performance test, shapes, size, specific gravity, wood, wood products | http://www.astm.org/Standards/D2395.htm
ASTM D2555 - 16 Standard Practice for Establishing Clear Wood Strength Values | 2015 | Biomaterials | English | ASTM | Practice covers the determination of strength values for clear wood of different species in the unseasoned condition, unadjusted for end use, applicable to the establishment of working stresses for different solid wood products such as lumber, laminated wood, plywood, and round timbers | clear wood, density, relative density, lumber, plywood, round timber, specific gravity, strength, wood | http://www.astm.org/Standards/D2555.htm
ASTM D2718 - 00(2011) Standard Test Methods for Structural Panels in Planar Shear (Rolling Shear) | 2011 | Biomaterials | English | ASTM | Test methods determine the shear properties of structural panels associated with shear distortion of the planes parallel to the edge planes of the panels. Both shear strength and modulus of rigidity may be determined and tests measure the planar shear (rolling shear) strength developed in the plane of the panel | modulus of rigidity, oriented strandboards, plywood, rolling shear test, shear modulus, shear strength, shear test, structural wood panels, waferboards, wood veneer, veneer-based materials | http://www.astm.org/Standards/D2718.htm
ASTM D2719 - 13 Standard Test Methods for Structural Panels in Shear Through-the-Thickness | 2013 | Biomaterials | English | ASTM | Test methods determine the shear through-the-thickness properties of structural panels associated with shear distortion of the major axis. Structural panels in use include plywood, oriented strand board, and composites of veneer and of wood based layers | oriented strandboards, plywood, shear strength, shear test, structural wood panels, thickness, wood veneer, veneer-based materials, wood veneer composites | http://www.astm.org/Standards/D2719.htm
ASTM D2898 - 10 Standard Practice for Accelerated Weathering of Fire-Retardant-Treated Wood for Fire Testing | 2010 | Biomaterials | English | ASTM | Practice addresses the durability of a fire-retardant treatment of wood products by exposure to accelerated cycles of wetting, drying, or ultraviolet (UV) exposure, or combination thereof, prior to evaluation by a fire response test. Four conditioning methods are described | accelerated aging test, durability, fire retardants, fire test, flame retardants, wood products | http://www.astm.org/Standards/D2898.htm
ASTM D2915 - 10 Practice for Sampling and Data-Analysis for Structural Wood and Wood-Based Products | 2010 | Biomaterials | English | ASTM | Practice covers sampling and analysis procedures for the investigation and evaluation of allowable properties of specified populations of stress-graded structural lumber | lumber, sampling, statistical analysis, statistical data analysis, structural wood products, wood products | http://www.astm.org/Standards/D2915.htm
ASTM D3043 - 00(2011) Standard Test Methods for Structural Panels in Flexure | 2011 | Biomaterials | English | ASTM | Determination of the flexural properties of strips cut from structural panels or panels up to 4 by 8 ft in size. Structural panels in use include plywood, waferboard, oriented strand board, and composites of veneer and of wood-based layers | flexural stiffness, flexural strength, flexural Test, flexural bend strength, oriented strandboards, plywood, stiffness, structural wood panels, waferboards, wood veneer, veneer-based materials, wood veneer composites | http://www.astm.org/Standards/D3043.htm
ASTM D3044 - 16 Standard Test Method for Shear Modulus of Wood-Based Structural Panels | 2011 | Biomaterials | English | ASTM | Determination of the shear modulus of wood-based structural panels associated with shear distortion in the plane of the panels. The method is applicable to all types of wood-based structural panels. | oriented strandboards, plywood, shear modulus, shear test, structural wood panels, waferboards, wood | http://www.astm.org/Standards/D3044.htm
ASTM D3201 / D3201M - 13 Standard Test Method for Hygroscopic Properties of Fire-Retardant Wood and Wood-Based Products | 2012 | Biomaterials | English | ASTM | Determination of the hygroscopicity of fire retardant treated wood products by determining the moisture content of fire-retardant-treated wood and wood-based product specimens after exposure to a test condition of 92 ± 2 % relative humidity | fire retardants, flame retardants, hygroscopicity, moisture content, physical properties, relative humidity, wood, wood products | http://www.astm.org/Standards/D3201.htm
ASTM D3499 - 11 Standard Test Method for Toughness of Wood-Based Structural Panels | 2011 | Biomaterials | English | ASTM | Test method for toughness of wood-based structural panels covers the determination of energy necessary to cause failure by impact loading of a beam specimen which is simply supported and loaded at midspann and include plywood, waferboard, oriented strand board, and composites of veneer and of wood-based layers | impact test, oriented strandboards, plywood, structural wood panels, toughness, waferboards, wood veneer, veneer-based materials, wood veneer composites | http://www.astm.org/Standards/D3499.htm
ASTM D3500 - 14 Standard Test Methods for Structural Panels in Tension | 2014 | Biomaterials | English | ASTM | Test methods cover the determination of the tensile properties of structural panels and include plywood, oriented strand board and composites of veneer, and other wood-based layers | oriented strandboards, plywood, tensile strength, waferboards, wood veneer, veneer-based materials, wood veneer composites | http://www.astm.org/Standards/D3500.htm
ASTM D3501 - 05a(2011) Standard Test Methods for Wood-Based Structural Panels in Compression | 2011 | Biomaterials | English | ASTM | Test methods cover the determination of the compression properties of wood-based structural panels. Wood-based structural panels in use include plywood, waferboard, oriented strand board, and composites of veneer and of wood-based layers | compression test, compressive strength, moisture content, plywood, structural panels, waferboards, wood veneer, wood veneer, veneer-based materials | http://www.astm.org/Standards/D3501.htm
ASTM D3737 - 12 Standard Practice for Establishing Allowable Properties for Structural Glued Laminated Timber (Glulam) | 2012 | Biomaterials | English | ASTM | Practice covers the procedures for establishing allowable properties for structural glued laminated timber including allowable stresses for bending, tension and compression, horizontal shear, radial tension and compression in curved members, modulus of elasticity and modulus of rigidity | bend strength, compressive strength, flexural/bend strength, glulam, lumber, mechanical test, modulus of elasticity, modulus of rigidity, shear modulus, shear strength, tensile strength | http://www.astm.org/Standards/D3737.htm
ASTM D4442 - 15 Standard Test Methods for Direct Moisture Content Measurement of Wood and Wood-Based Materials | 2015 | Biomaterials | English | ASTM | Test methods cover the determination of the moisture content (MC) of wood, veneer, and other wood-based materials, including those that contain adhesives and chemical additives | distillation, drying, moisture content, wood, wood products | http://www.astm.org/Standards/D4442.htm
ASTM D4761 - 13 Standard Test Methods for Mechanical Properties of Lumber and Wood-Base Structural Material | 2013 | Biomaterials | English | ASTM | Test methods cover the determination of the mechanical properties of stress-graded lumber and other wood-base structural material including axial strength in tension and axial strength in compression | bend test, bending test, compression test, lumber, mechanical properties, tensile test, wood products, wood-base structural materials | http://www.astm.org/Standards/D4761.htm
ASTM D4933 - 99(2010) Standard Guide for Moisture Conditioning of Wood and Wood-Base Materials | 2010 | Biomaterials | English | ASTM | This guide covers standard procedures for conditioning and equilibrating wood and wood-based materials to constant moisture content and the procedures apply to solid wood, wood-based fiber and particulate materials and panels, and wood products containing adhesives | conditioning, manufacturing process, moisture content, wood, wood products | http://www.astm.org/Standards/D4933.htm
ASTM D5055 - 16 Standard Specification for Establishing and Monitoring Structural Capacities of Prefabricated Wood I-Joists | 2016 | Biomaterials | English | ASTM | This specification gives procedures for establishing, monitoring, and reevaluating structural capacities of prefabricated wood I-joists including shear, reaction, moment, and stiffness | prefabricated wood I-joists, shear strength, stiffness | http://www.astm.org/Standards/D5055.htm
ASTM D5456 - 14b Standard Specification for Evaluation of Structural Composite Lumber Products | 2014 | Biomaterials | English | ASTM | This specification covers both specific procedures and statements of intent that sampling and analysis must relate to the specific product including bending, tension parallel to grain, compression parallel and perpendicular to grain and longitudinal shear | mechanical properties, quality assurance, structural composite lumber | http://www.astm.org/Standards/D5456.htm
ASTM D5457 - 15 Standard Specification for Computing Reference Resistance of Wood-Based Materials and Structural Connections for Load and Resistance Factor Design | 2015 | Biomaterials | English | ASTM | Specification covers procedures for computing the reference resistance of wood-based materials and structural connections for use in load and resistance factor design (LRFD) | statistical models, Weibull distribution, wood | http://www.astm.org/Standards/D5457.htm
ASTM D5516 - 09 Standard Test Method for Evaluating the Flexural Properties of Fire-Retardant Treated Softwood Plywood Exposed to Elevated Temperatures | 2009 | Biomaterials | English | ASTM | Test method is designed to determine the effect of exposure to high temperatures and humidities on the flexure properties of fire-retardant treated softwood plywood | fire retardants, flame retardants, flexural stiffness, flexural strength, flexural test, flexural/bend strength, plywood, roof sheathing, roofing and waterproofing, softwood, stiffness | http://www.astm.org/Standards/D5516.htm
ASTM E72 - 15 Standard Test Methods of Conducting Strength Tests of Panels for Building Construction | 2015 | Biomaterials | English | ASTM | Test methods cover the following procedures for determining the structural properties of segments of wall, floor, and roof constructions including various loading tests including compressive, tensile and transverse loads | structural properties, wall segments, floor segments, roof construction, loading tests, compressive loads, tensile loads, transverse loads | http://www.astm.org/Standards/E72.htm
ASTM C271 / C271M - 16 Standard Test Method for Density of Sandwich Core Materials | 2016 | Biomaterials | English | ASTM | Determination of the density of sandwich construction core materials including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | density, density and relative density, sandwich core materials, sandwich structures | http://www.astm.org/Standards/C271.htm
ASTM C272 / C272M - 16 Standard Test Method for Water Absorption of Core Materials for Sandwich Constructions | 2016 | Biomaterials | English | ASTM | Determination of the relative amount of water absorption by various types of sandwich construction core materials when immersed in water, or when subjected to a high relative humidity environment including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | absorption, balsa wood, foam core panels, hardwood, honeycomb panels, moisture content, water absorption | http://www.astm.org/Standards/C272.htm
ASTM C273 / C273M - 16 Standard Test Method for Shear Properties of Sandwich Core Materials | 2016 | Biomaterials | English | ASTM | Determination of shear properties of sandwich construction core materials associated with shear distortion of planes parallel to the facings and covers the determination of shear strength parallel to the plane of the sandwich, and the shear modulus associated with strains in a plane normal to the facings | manufacturing process, sandwich construction, sandwich panels, shear modulus, shear strength, shear test | https://www.astm.org/Standards/C273.htm
ASTM C297 / C297M - 16 Standard Test Method for Flatwise Tensile Strength of Sandwich Constructions | 2016 | Biomaterials | English | ASTM | Test method determines the flatwise tensile strength of the core, the core-to-facing bond, or the facing of an assembled sandwich panel including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | aerospace materials, flatwise tensile strength, foam core panels, honeycomb panels, manufacturing process, sandwich construction, tensile strength, tensile test | https://www.astm.org/Standards/C297.htm
ASTM C363 / C363M - 16 Standard Test Method for Node Tensile Strength of Honeycomb Core Materials | 2016 | Biomaterials | English | ASTM | Determination of the tensile-node bond strength of honeycomb core materials | bond strength, delamination, honeycomb panels, tensile strength, tensile test | http://www.astm.org/Standards/C363.htm
ASTM C364 / C364M - 16 Standard Test Method for Edgewise Compressive Strength of Sandwich Constructions | 2016 | Biomaterials | English | ASTM | Test method covers the compressive properties of structural sandwich construction in a direction parallel to the sandwich facing plane including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | compression test, compressive strength, foam core panels, honeycomb panels, manufacturing process, sandwich construction | http://www.astm.org/Standards/C364.htm
ASTM C365 / C365M - 16 Standard Test Method for Flatwise Compressive Properties of Sandwich Cores | 2016 | Biomaterials | English | ASTM | This test method covers the determination of compressive strength and modulus of sandwich cores. These properties are usually determined for design purposes in a direction normal to the plane of facings as the core would be placed in a structural sandwich construction | aerospace materials, compression test, compressive modulus, compressive strength, foam core panels, honeycomb panels | http://www.astm.org/Standards/C365.htm
ASTM C366 / C366M - 16 Standard Test Methods for Measurement of Thickness of Sandwich Cores | 2016 | Biomaterials | English | ASTM | Test methods cover plant manufacturing procedures for measuring the thickness of flat sandwich cores including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | core thickness, disk-type, thickness testers, foam core panels, honeycomb panels, measuring instrument, roller-type | http://www.astm.org/Standards/C366.htm
ASTM C393 / C393M - 16 Standard Test Method for Core Shear Properties of Sandwich Constructions by Beam Flexure | 2016 | Biomaterials | English | ASTM | Determination of the core shear properties of flat sandwich constructions subjected to flexure in such a manner that the applied moments produce curvature of the sandwich facing planes including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | core shear strength, flexural stiffness, flexural test, foam core panels, honeycomb panels, manufacturing process, sandwich construction, sandwich panels, shear modulus, shear strength, stiffness | http://www.astm.org/Standards/C393.htm
ASTM C394 / C394M - 16 Standard Test Method for Shear Fatigue of Sandwich Core Materials | 2016 | Biomaterials | English | ASTM | Test method determines the effect of repeated shear forces on core material used in sandwich panels including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb). | aerospace materials, fatigue, sandwich core panels, sandwich panels, shear strength, shear stress, shear test, stress and strain | http://www.astm.org/Standards/C394.htm
ASTM C480 / C480M - 16 Standard Test Method for Flexure Creep of Sandwich Constructions | 2016 | Biomaterials | English | ASTM | Determination of the creep characteristics and creep rate of flat sandwich constructions loaded in flexure, at any desired temperature including those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | creep, flexural test, foam core panels, honeycomb panels, manufacturing process, sandwich construction | http://www.astm.org/Standards/C480.htm
ASTM C481 - 99(2011) Standard Test Method for Laboratory Aging of Sandwich Constructions | 2011 | Biomaterials | English | ASTM | Determination of the resistance of sandwich panels to severe exposure conditions as measured by the change in selected properties of the material after exposure | accelerated aging test, aging, degradation, degradation/deterioration, manufacturing process, sandwich construction, sandwich panels | http://www.astm.org/Standards/C481.htm
ASTM C581 - 15 Standard Practice for Determining Chemical Resistance of Thermosetting Resins Used in Glass-Fiber-Reinforced Structures Intended for Liquid Service | 2015 | Biomaterials | English | ASTM | This practice is designed to evaluate, in an unstressed state, the chemical resistance of thermosetting resins used in the fabrication of reinforced thermosetting plastic (RTP) laminates | chemical resistance, composite laminates, glass fiber-reinforced plastics, laminates, thermosetting plastics, thermosetting resins | http://www.astm.org/Standards/C581.htm
ASTM C613 - 14 Standard Test Method for Constituent Content of Composite Prepreg by Soxhlet Extraction | 2014 | Biomaterials | English | ASTM | Test method covers a Soxhlet extraction procedure to determine the matrix content, reinforcement content, and filler content of composite material prepreg | chemical composition, composite prepregs, composite products, extraction, filler content, matrix content, organic matter content, resin content, soxhlet extraction | http://www.astm.org/Standards/C613.htm
ASTM C1666 / C1666M - 08(2015) Standard Specification for Alkali Resistant (AR) Glass Fiber for GFRC and Fiber-Reinforced Concrete and Cement | 2015 | Biomaterials | English | ASTM | Specification covers minimum requirements for alkali resistant (AR) glass fibers intended for use in glass fiber-reinforced concrete (GFRC) by spray-up, glass fiber-reinforced concrete premix, fiber-reinforced concrete, and other cementitious based product | alkali resistance, cementitious materials, chemical resistance, fiber-reinforced concrete, glass fiber-reinforced concrete, glass fibers, inorganic matter content, physical properties, zirconia content | http://www.astm.org/Standards/C1666.htm
ASTM D256 - 19e1 Standard Test Methods for Determining the Izod Pendulum Impact Resistance of Plastics | 2010 | Biomaterials | English | ASTM | Determination of the resistance of plastics to standardized pendulum-type hammers, mounted in standardized machines, in breaking standard specimens with one pendulum swing. The standard tests for these test methods require specimens made with a milled notch | Charpy impact test, Charpy test, impact resistance, impact strength, Izod test, plastics | https://www.astm.org/Standards/D256.htm
ASTM D494 - 11 Standard Test Method for Acetone Extraction of Phenolic Molded or Laminated Products | 2011 | Biomaterials | English | ASTM | Determination of the amount of acetone-soluble matter in molded or laminated phenolic products | acetone extraction, acetone soluble matter, extraction, lamination, manufacturing process, molding, organic matter content, phenolic plastics, plasticizers | https://www.astm.org/Standards/D494.htm
ASTM D542 - 14 Standard Test Method for Index of Refraction of Transparent Organic Plastics | 2014 | Biomaterials | English | ASTM | This test method covers a procedure for measuring the index of refraction of transparent organic plastic materials and measures a fundamental property of matter which is useful for the control of purity and composition for simple identification purposes, and for optical parts design | chemical analysis, plastics, refractive index, refractometry | https://www.astm.org/Standards/D542.htm
ASTM D570 - 98(2010)e1 Standard Test Method for Water Absorption of Plastics | 2010 | Biomaterials | English | ASTM | Determination of the relative rate of absorption of water by plastics when immersed. This test method is intended to apply to the testing of all types of plastics, including cast, hot-molded, and cold-molded resinous products, and both homogeneous and laminated plastics in rod and tube form and in sheets 0.13 mm [0.005 in.] or greater in thickness | absorption, immersion test, moisture content, plastics | http://www.astm.org/Standards/D570.htm
ASTM D578 / D578M - 05(2011)e1 Standard Specification for Glass Fiber Strands | 2011 | Biomaterials | English | ASTM | This specification covers the requirements for continuous fiber and staple fiber glass strands, including single, plied and multiple wound. It also covers textured glass fiber yarns and is intended to assist users by designating the general nomenclature for the strand products that age generally manufactured in the glass fiber industry | dimension, glass fiber strands, glass fibers, yarn number | http://www.astm.org/Standards/D578.htm
ASTM D618 - 13 Standard Practice for Conditioning Plastics for Testing | 2013 | Biomaterials | English | ASTM | This practice defines procedures for conditioning plastics (although not necessarily to equilibrium) prior to testing, and the conditions under which they shall be tested | conditioning, electrical properties, manufacturing process, physical properties, plastics, relative humidity | http://www.astm.org/Standards/D618.htm
ASTM D638 - 14 Standard Test Method for Tensile Properties of Plastics | 2014 | Biomaterials | English | ASTM | Determination of the tensile properties of unreinforced and reinforced plastics in the form of standard dumbbell-shaped test specimens when tested under defined conditions of pretreatment, temperature, humidity, and testing machine speed | modulus of elasticity, plastics, tensile strength, tensile test | https://www.astm.org/Standards/D638.htm
ASTM D648 - 16 Standard Test Method for Deflection Temperature of Plastics Under Flexural Load in the Edgewise Position | 2016 | Biomaterials | English | ASTM | This test method covers the determination of the temperature at which an arbitrary deformation occurs when specimens are subjected to an arbitrary set of testing conditions and applies to molded and sheet materials available in thicknesses of 3 mm (1/8 in.) or greater and which are rigid or semirigid at normal temperature | deflection temperature, deformation, flexural load, force, pressure, plastics, temperature | http://www.astm.org/Standards/D648.htm
ASTM D695 - 15 Standard Test Method for Compressive Properties of Rigid Plastics | 2015 | Biomaterials | English | ASTM | Determination of the mechanical properties of unreinforced and reinforced rigid plastics, including high-modulus composites, when loaded in compression at relatively low uniform rates of straining or loading and is applicable for a composite modulus up to and including 41,370 MPa (6,000,000 psi) | compression test, mechanical properties, plastics, reinforced plastics | https://www.astm.org/Standards/D695.htm
ASTM D732 - 10 Standard Test Method for Shear Strength of Plastics by Punch Tool | 2010 | Biomaterials | English | ASTM | Test method covers the procedure for determining the shear strength of composite materials in the form of sheets, plates, and molded shapes in thicknesses from 1.27 to 12.7 mm (0.050 to 0.500 in.) | mechanical components, plastics, plastics products, punch tools, shear strength, shear test | https://www.astm.org/Standards/D732.htm
ASTM D747 - 10 Standard Test Method for Apparent Bending Modulus of Plastics by Means of a Cantilever Beam | 2010 | Biomaterials | English | ASTM | Determination of the apparent bending modulus of plastics by means of a cantilever beam and is well suited for determining relative flexibility of materials over a wide range | apparent bending modulus, beams, bend test, cantilever beam, elasticity, plastics, stiffness | https://www.astm.org/Standards/D747.htm
ASTM D787 - 12 Standard Specification for Ethyl Cellulose Molding and Extrusion Compounds | 2012 | Biomaterials | English | ASTM | This specification covers requirements for plasticized ethyl cellulose thermoplastic compounds suitable for injection molding and extrusion | cellulosic plastics, ethyl cellulose plastics, extrusion, molding, thermoplastics | http://www.astm.org/Standards/D787.htm
ASTM D790 - 15e2 Standard Test Methods for Flexural Properties of Unreinforced and Reinforced Plastics and Electrical Insulating Materials | 2015 | Biomaterials | English | ASTM | These test methods are used to determine the flexural properties of unreinforced and reinforced plastics, including high modulus composites and electrical insulating materials utilizing a three-point loading system to apply a load to a simply supported beam (specimen) | electrical insulation, flexural modulus, flexural strength, flexural test, flexural/bend strength, plastics, plastics products, reinforced plastics | https://www.astm.org/Standards/D790.htm
ASTM D792 - 13 Standard Test Methods for Density and Specific Gravity (Relative Density) of Plastics by Displacement | 2013 | Biomaterials | English | ASTM | Determination of the specific gravity (relative density) and density of solid plastics in forms such as sheets, rods, tubes, or molded items | density, relative density, displacement method, molded and extruded products, physical test, plastic film, plastic rods, plastic sheets, plastics, relative density, specific gravity | https://www.astm.org/Standards/D792.htm
ASTM D883 - 12e1 Standard Terminology Relating to Plastics | 2012 | Biomaterials | English | ASTM | This terminology covers definitions of technical terms used in the plastics industry. Terms that are generally understood or adequately defined in other readily available sources are not included | plastics | http://www.astm.org/Standards/D883.htm
ASTM D1003 - 13 Standard Test Method for Haze and Luminous Transmittance of Transparent Plastics | 2013 | Biomaterials | English | ASTM | This test method covers the evaluation of specific light-transmitting and wide-angle-light-scattering properties of planar sections of materials such as essentially transparent plastic. Two procedures are provided for the measurement of luminous transmittance and haze | gloss and haze, haze, hazemeters, light scattering, luminous transmittance, measuring instrument, opacity and transmittance, plastics, scattering, spectrometers, spectrophotometers, transparent plastics | http://www.astm.org/Standards/D1003.htm
ASTM D1004 - 13 Standard Test Method for Tear Resistance (Graves Tear) of Plastic Film and Sheeting | 2013 | Biomaterials | English | ASTM | This test method covers the determination of the tear resistance of flexible plastic film and sheeting at very low rates of loading, 51 mm (2 in.)/min. and is designed to measure the force to initiate tearing | plastic film, plastic sheets, tear resistance, tear strength, tear test | https://www.astm.org/Standards/D1004.htm
ASTM D1042 - 12 Standard Test Method for Linear Dimensional Changes of Plastics Caused by Exposure to Heat and Moisture | 2012 | Biomaterials | English | ASTM | This test method is designed to provide a means for measuring in plastic specimens the dimensional changes such as shrinkage or expansion, developed under specific heat and water conditionings | dimension, dimensional change, physical properties, plastics, thermal shrinkage | https://www.astm.org/Standards/D1042.htm
ASTM D1562 - 15 Standard Classification System and Basis for Specification for Cellulose Acetate Propionate Molding and Extrusion Compounds (CAP) | 2015 | Biomaterials | English | ASTM | This classification system covers requirements for plasticized cellulose acetate propionate thermoplastic compounds suitable for injection molding and extrusion. These compounds have a propionyl content less than 48 % and an acetyl content less than 3 % and can contain dyes and pigments | cellulosic plastics, chemical composition, chemical content, extrusion, injection molding, thermoplastics | https://www.astm.org/Standards/D1562.htm
ASTM D1577 - 07(2012) Standard Test Methods for Linear Density of Textile Fibers | 2012 | Biomaterials | English | ASTM | These test methods cover the measurement of mass per unit length (linear density) of textile fibers and filaments. Direct weighing and vibroscope procedures with modifications for crimped and uncrimped fibers are included | acceptance test, acceptance testing, density and relative density, fibers and yarns, linear density, textile fibers | http://www.astm.org/Standards/D1577.htm
ASTM D1600 - 14 Standard Terminology for Abbreviated Terms Relating to Plastics | 2014 | Biomaterials | English | ASTM | The purpose of this terminology is to provide uniform contractions of terms relating to plastics. Abbreviated terminology has evolved through widespread common usage | plastics | http://www.astm.org/Standards/D1600.htm
ASTM D1623 - 09 Standard Test Method for Tensile and Tensile Adhesion Properties of Rigid Cellular Plastics | 2009 | Biomaterials | English | ASTM | Determination of the tensile and tensile adhesion properties of rigid cellular materials in the form of test specimens of standard shape under defined conditions of temperature, humidity, and testing machine speed | adhesion, adhesion and cohesion, cellular plastics and elastomers, rigid cellular plastics, tensile strength, tensile test | https://www.astm.org/Standards/D1623.htm
ASTM D1729 - 16 Standard Practice for Visual Appraisal of Colors and Color Differences of Diffusely-Illuminated Opaque Materials | 2016 | Biomaterials | English | ASTM | This practice specifies the equipment and procedures for visual appraisal of the colors and color differences of opaque materials that are diffusely illuminated. These specifications are of critical importance in color matching | color, color matching, color test, illumination sources, laboratory apparatus, opaque specimens, test specimens and test engines, visual evaluation, visual inspection | http://www.astm.org/Standards/D1729.htm
ASTM D1790 - 14 Standard Test Method for Brittleness Temperature of Plastic Sheeting by Impact | 2014 | Biomaterials | English | ASTM | Test method covers the determination of that temperature at which plastic sheeting 1.00 mm (0.040 in.) or less in thickness exhibits a brittle failure under specified impact conditions | brittleness temperature, impact, impact test, plastic film, plastic sheets, temperature | https://www.astm.org/Standards/D1790.htm
ASTM D1907 / D1907M -12 Standard Test Method for Linear Density of Yarn (Yarn Number) by the Skein Method | 2012 | Biomaterials | English | ASTM | This test method covers the determination of the linear density of all types of yarn in package form, subject to the limitations of size and stretch given in this method. Provision is made for expressing yarn linear density in all the traditional yarn numbering systems | density and relative density, dimension, linear density, physical test, skein method, yarn number, yarns | http://www.astm.org/Standards/D1907.htm
ASTM D1938 - 14 Standard Test Method for Tear-Propagation Resistance (Trouser Tear) of Plastic Film and Thin Sheeting by a Single-Tear Method | 2014 | Biomaterials | English | ASTM | Test method covers the determination of the force necessary to propagate a tear in plastic film and thin sheeting (thickness of 1 mm (0.04 in.) or less) by a single-tear method | force, pressure, plastic film, plastic sheets, single-tear method, tear resistance, tear strength, tear test | https://www.astm.org/Standards/D1938.htm
ASTM D2124 - 99(2011) Standard Test Method for Analysis of Components in Poly(Vinyl Chloride) Compounds Using an Infrared Spectrophotometric Technique | 2011 | Biomaterials | English | ASTM | This test method provides for the identification of certain resins, plasticizers, stabilizers, and fillers in poly(vinyl chloride) (PVC) compounds by an infrared spectrophotometric technique | chemical composition, chemical content, chemical stabilizers, fillers, fillers and extenders, infrared spectroscopy, plasticizers, polyvinyl chloride, stabilizers. Infrared spectrophotometric | https://www.astm.org/Standards/D2124.htm
ASTM D2256 / D2256M - 10(2015) Standard Test Method for Tensile Properties of Yarns by the Single-Strand Method | 2015 | Biomaterials | English | ASTM | This test method covers the determination of tensile properties of monofilament, multifilament, and spun yarns, either single, plied, or cabled with the exception of yarns that stretch more than 5.0 % when tension is increased from 0.05 to 1.0 cN/tex [0.5 to 1.0 gf/tex] | breaking strength, deformation, elongation, filament yarns, single-strand method, spun yarns, tensile strength, tensile test, toughness | http://www.astm.org/Standards/D2256.htm
ASTM D2291 - 09 Standard Practice for Fabrication of Ring Test Specimens for Glass-Resin Composites | 2015 | Biomaterials | English | ASTM | This practice is intended for use in the fabrication of ring-type test specimens to be used in the evaluation of the mechanical properties of reinforcement and resins in a composite structure and outlines the steps in the preparation of the test specimens | fabrication, glass fiber-reinforced plastics, glass fiber-reinforced thermosetting resins, manufacturing process, mechanical properties, mechanical test | https://www.astm.org/Standards/D2291.htm
ASTM D2343 - 09 Standard Test Method for Tensile Properties of Glass Fiber Strands, Yarns, and Rovings Used in Reinforced Plastics | 2009 | Biomaterials | English | ASTM | Determination of the comparative tensile properties of glass fiber strands, yarns, and rovings in the form of impregnated rod test specimens when tested under defined conditions of pretreatment, temperature, humidity, and tension testing machine speed and is applicable to continuous filament, glass fiber materials that have been coated with a resin compatible sizing | glass fiber strands, glass fiber-reinforced plastics, glass fibers, tensile strength, tensile test, yarns | https://www.astm.org/Standards/D2343.htm
ASTM D2344 / D2344M - 16 Standard Test Method for Short-Beam Strength of Polymer Matrix Composite Materials and Their Laminates | 2016 | Biomaterials | English | ASTM | This test method determines the short-beam strength of high-modulus fiber-reinforced composite materials. The specimen is a short beam machined from a curved or a flat laminate up to 6.00 mm [0.25 in.] thick. The beam is loaded in three-point bending | bend test, composite laminates, composites, fiber-reinforced polymers, laminates, reinforced plastics, three-point bend test | http://www.astm.org/Standards/D2344.htm
ASTM D2562 - 94(2015) Standard Practice for Classifying Visual Defects in Parts Molded from Reinforced Thermosetting Plastics | 2015 | Biomaterials | English | ASTM | This practice covers acceptance criteria for visual inspection of parts molded from reinforced thermosetting plastics by compression and transfer molding | acceptance criteria, fiber-reinforced polymers, reinforced plastics, thermosetting plastics, visual examination, visual inspection | https://www.astm.org/Standards/D2562.htm
ASTM D2563 - 08(2015) Standard Practice for Classifying Visual Defects in Glass-Reinforced Plastic Laminate Parts | 2015 | Biomaterials | English | ASTM | This practice covers acceptance criteria for visual inspection of parts made from molded glass-reinforced plastic laminates | composite laminates, glass fiber-reinforced plastics, laminates, molding, visual examination, visual inspection | https://www.astm.org/Standards/D2563.htm
ASTM D2563 -08(2015) Standard Practice for Classifying Visual Defects in Glass-Reinforced Plastic Laminate Parts | 2015 | Biomaterials | English | ASTM | This practice covers acceptance criteria for visual inspection of parts made from molded glass-reinforced plastic laminates | composite laminates, glass fiber-reinforced plastics, laminates, molding, visual examination, visual inspection | https://www.astm.org/Standards/D2563.htm
ASTM D2584 - 11 Standard Test Method for Ignition Loss of Cured Reinforced Resins | 2011 | Biomaterials | English | ASTM | This test method covers the determination of the ignition loss of cured reinforced resins. This ignition loss can be considered to be the resin content within the limitations of this this test method | combustion, curing, ignition, organic matter content, reinforced plastics, reinforced thermosetting plastics, resin content | http://www.astm.org/Standards/D2584.htm
ASTM D2983 - 15 Standard Test Method for Low-Temperature Viscosity of Lubricants Measured by Brookfield Viscometer | 2015 | Biochemicals, Biomaterials | English | ASTM | This test method covers the use of Brookfield viscometers of appropriate torque for the determination of the low-shear-rate viscosity of lubricants and may be applied over the viscosity range of 500 mPa·s to 900 000 mPa·s | Brookfield viscometers, lubricating oils, rheological properties, shear rate, U-tube viscometers, viscosity | http://www.astm.org/Standards/D2983.htm
ASTM D2990 - 09 Standard Test Methods for Tensile, Compressive, and Flexural Creep and Creep-Rupture of Plastics | 2009 | Biomaterials | English | ASTM | Determination of tensile and compressive creep and creep-rupture of plastics under specified environmental conditions. While these test methods outline the use of three-point loading for measurement of creep in flexure, four-point loading can also be used with the equipment and principles as outlined in ASTM D790 | compression test, creep test, flexural test, plastics, tensile test | https://www.astm.org/Standards/D2990.htm
ASTM D3039 - D3039M - 14 Standard Test Method for Tensile Properties of Polymer Matrix Composite Materials | 2014 | Biomaterials | English | ASTM | Test method determines the in-plane tensile properties of polymer matrix composite materials reinforced by high-modulus fibers. The composite material forms are limited to continuous fiber or discontinuous fiber-reinforced composites in which the laminate is balanced and symmetric with respect to the test direction | aerospace materials, fiber-reinforced polymers, laminates, modulus of elasticity, Poisson's ratio - polymer matrix composite laminates, reinforced plastics, tensile strength, tensile test | http://www.astm.org/Standards/D3039.htm
ASTM D3171 - 15 Standard Test Methods for Constituent Content of Composite Materials | 2015 | Biomaterials | English | ASTM | Test methods determine the constituent content of composite materials by one of two approaches. Test Method I calculates the reinforcement or matrix content (by weight or volume) as well as percent void volume. Test Method II calculates reinforcement or matrix content (by weight or volume), and the cured ply thickness, based on the measured thickness of the laminate | aerospace materials, chemical composition, fiber-reinforced polymers, matrix content, organic matter content, porosity, reinforced plastics, resin content, void volume | http://www.astm.org/Standards/D3171.htm
ASTM D3518 / D3518M - 13 Standard Test Method for In-Plane Shear Response of Polymer Matrix Composite Materials by Tensile Test of a ±45° Laminate | 2013 | Biomaterials | English | ASTM | This test method determines the in-plane shear response of polymer matrix composite materials reinforced by high-modulus fibers and is limited to a continuous-fiber-reinforced composite ±45° laminate capable of being tension tested in the laminate x direction | composite laminates, continuous fiber-reinforced composites, fiber-reinforced composites, laminates, polymer matrix composites, shear modulus, shear strength, shear stress, stress and strain, tensile test | http://www.astm.org/Standards/D3518.htm
ASTM D3530 - 97(2015) Standard Test Method for Volatiles Content of Composite Material Prepreg | 2015 | Biomaterials | English | ASTM | Determination of the volatiles content, in weight percent of composite material prepregs. This standard focuses on composites with thermosetting resins that tend to lose a few percent of the matrix mass when heated due to loss of both retained water and low molecular weight matrix constituents that volatilize during heating | carbon fiber-reinforced epoxy, chemical analysis, composite prepregs, composite products, composites, mass loss, mass, volume and weight, volatile matter content, volatile organic matter content | http://www.astm.org/Standards/D3530.htm
ASTM D3641 - 15 Standard Practice for Injection Molding Test Specimens of Thermoplastic Molding and Extrusion Materials | 2015 | Biomaterials | English | ASTM | This practice covers the general principles to be followed when injection molding test specimens of thermoplastic molding and extrusion materials. This practice is to be used to obtain uniformity in methods of describing the various steps of the injection molding process and to set up uniform methods of reporting these conditions | extrusion molding, injection molding, test specimens, test specimens and test engines, thermoplastics | http://www.astm.org/Standards/D3641.htm
ASTM D3800 - 10 Standard Test Method for Density of High-Modulus Fibers | 2011 | Biomaterials | English | ASTM | Test method covers the determination of the density of high-modulus fibers and is applicable to both continuous and discontinuous fibers | Archimedes method, buoyancy method, carbon fibers, continuous high-modulus fibers, density, density and relative density, discontinuous high-modulus fibers, physical test, sink-float method | http://www.astm.org/Standards/D3800M.htm
ASTM D3822 / D3822M - 14 Standard Test Method for Tensile Properties of Single Textile Fibers | 2014 | Biomaterials | English | ASTM | This test method covers the measurement of tensile properties of natural and man-made single textile fibers of sufficient length to permit mounting test specimens in a tensile testing machine | fiber length, length, man-made fibers, natural fibers, tensile strength, tensile test, test specimens, test specimens and test engines | http://www.astm.org/Standards/D3822.htm
ASTM D3878 - 15 Standard Terminology for Composite Materials | 2015 | Biomaterials | English | ASTM | These definitions cover generic terms, including terms of commercial importance, that appear in one or more standards on composites containing high-modulus (greater than 20-GPa (3 × 10 6 psi)) fibers | composites | http://www.astm.org/Standards/D3878.htm
ASTM D4000 - 16 Standard Classification System for Specifying Plastic Materials | 2016 | Biomaterials | English | ASTM | This standard provides a classification system for tabulating the properties of unfilled, filled, and reinforced plastic materials suitable for processing into parts | classification, plastics, standardization | http://www.astm.org/Standards/D4000.htm
ASTM D4018 - 11 Standard Test Methods for Properties of Continuous Filament Carbon and Graphite Fiber Tows | 2011 | Biomaterials | English | ASTM | Test methods cover the preparation and tensile testing of resin-impregnated and consolidated test specimens made from continuous filament carbon and graphite yarns, rovings, and tows to determine their tensile properties | carbon fibers, density, density and relative density, filament yarns, mass, volume and weight, tensile strength, tensile test, weight | http://www.astm.org/Standards/D4018.htm
ASTM D4066 - 13 Standard Classification System for Nylon Injection and Extrusion Materials (PA) | 2013 | Biomaterials | English | ASTM | This classification system covers nylon materials suitable for injection molding and extrusion. Some of these compositions are also suitable for compression molding and application from solution | classification, compression molding, injection molding, nylon plastics, polyamide plastics, polyamides, standardization | http://www.astm.org/Standards/D4066.htm
ASTM D4255 / D4255M - 15a Standard Test Method for In-Plane Shear Properties of Polymer Matrix Composite Materials by the Rail Shear Method | 2015 | Biomaterials | English | ASTM | This test method determines the in-plane shear properties of high-modulus fiber-reinforced composite materials by either of two procedures; laminates clamped between two pairs of loading rails are tested and when loaded in tension the rails introduce shear forces in the specimen or in procedure B, laminates clamped on opposite edges with a tensile or compressive force applied to a third pair of rails in the center are tested | composite laminates, laminates, polymer matrix composites, rail shear test, shear strain, shear strength, shear stress, shear test, stress and strain | http://www.astm.org/Standards/D4255.htm
ASTM D4762 - 11a Standard Guide for Testing Polymer Matrix Composite Materials | 2011 | Biomaterials | English | ASTM | This guide summarizes the application of ASTM standard test methods (and other supporting standards) to continuous-fiber reinforced polymer matrix composite materials | coefficient of thermal expansion, fiber-reinforced polymers, linear thermal expansion, mechanical test, polymer matrix composites, reinforced plastics | http://www.astm.org/Standards/D4762.htm
ASTM D4963 / D4963M - 11 Standard Test Method for Ignition Loss of Glass Strands and Fabrics | 2011 | Biomaterials | English | ASTM | Determination of ignition loss of glass fiber textiles and applies to glass fiber strands, twisted or untwisted, coated or uncoated; and fabrics, woven, nonwoven, knitted, coated, and uncoated, and chopped strand. This procedure may be applied to other glass textiles where the amount of organic content obtained by ignition loss is required | combustion properties, glass fibers, ignition loss | http://www.astm.org/Standards/D4963.htm
ASTM D5229 / D5229M - 14 Standard Test Method for Moisture Absorption Properties and Equilibrium Conditioning of Polymer Matrix Composite Materials | 2014 | Biomaterials | English | ASTM | Determination of moisture absorption or desorption properties in the through-the-thickness direction for single-phase Fickian solid materials in flat or curved panel form. Also included are procedures for determining the moisture loss during elevated temperature testing, as well as moisture loss resulting from thermal exposure after removal from the conditioning environment, such as during strain gage bonding | absorption, adsorption and desorption, composite laminates, conditioning, desorption, diffusion, laminates, manufacturing process, moisture content, moisture diffusion, polymer matrix composites, thickness | http://www.astm.org/Standards/D5229.htm
ASTM D5379 / D5379M - 12 Standard Test Method for Shear Properties of Composite Materials by the V-Notched Beam Method | 2012 | Biomaterials | English | ASTM | This test method covers the shear properties of composite materials reinforced by high-modulus fibers. The composite materials are limited to continuous-fiber or discontinuous-fiber-reinforced composites in the following material forms; only unidirectional fibrous laminae, only of woven fabric filamentary laminae with the warp direction, unidirectional fibrous laminae, containing equal numbers of plies n a balanced and symmetric stacking sequence and short-fiber-reinforced composites with a majority of the fibers being randomly distributed | composite laminates, fiber-reinforced composites, laminates, shear modulus, shear strain, shear strength, shear stress, shear test, stress and strain, V-notched beam method | http://www.astm.org/Standards/D5379.htm
ASTM D5467 / D5467M - 97(2010) Standard Test Method for Compressive Properties of Unidirectional Polymer Matrix Composites Using a Sandwich Beam | 2010 | Biomaterials | English | ASTM | This test method covers the in-plane compressive properties of polymer matrix composite materials reinforced by high-modulus fibers in a sandwich beam configuration. The composite material forms are limited to continuous-fiber composites of unidirectional orientation | compression test, compressive modulus, compressive strength, polymer matrix composites, sandwich beams | http://www.astm.org/Standards/D5467.htm
ASTM D5687 / D5687M - 95(2015) Standard Guide for Preparation of Flat Composite Panels with Processing Guidelines for Specimen Preparation | 2015 | Biomaterials | English | ASTM | This guide provides guidelines to facilitate the proper preparation of laminates and test specimens from fiber-reinforced organic matrix composite prepregs and is limited to organic matrices and fiber reinforcement in unidirectional (tape) or orthagonal weave patterns | composite laminates, composite prepregs, composite products, fiber-reinforced polymers, flat composite panels, laminates, polymer matrix composites, reinforced plastics, specimen preparation | http://www.astm.org/Standards/D5687.htm
ASTM D5961 / D5961M - 13 Standard Test Method for Bearing Response of Polymer Matrix Composite Laminates | 2013 | Biomaterials | English | ASTM | Test method covers the bearing response of pinned or fastened joints using multi-directional polymer matrix composite laminates reinforced by high-modulus fibers by double-shear tensile loading, single-shear tensile or compressive loading of a two-piece specimen, single-shear tensile loading of a one-piece specimen, or double-shear compressive loading | bearing strength, composite laminates, laminates, plastics and rubber, polymer matrix composites, polymers, shear test | http://www.astm.org/Standards/D5961.htm
ASTM D6641 / D6641M - 14 Standard Test Method for Compressive Properties of Polymer Matrix Composite Materials Using a Combined Loading Compression (CLC) Test Fixture | 2014 | Biomaterials | English | ASTM | This test method determines the compressive strength and stiffness properties of polymer matrix composite materials using a combined loading compression (CLC) test fixture and is applicable to general composites that are balanced and symmetric. The specimen may be untabbed or tabbed, as required | composite laminates, compression test, compressive strength, laminates, modulus of elasticity, Poisson's ratio, polymer matrix, composites, stiffness | http://www.astm.org/Standards/D6641.htm
ASTM D6961 / D6961M - 09(2015)e1 Standard Test Method for Color Measurement of Flax Fiber | 2015 | Biomaterials | English | ASTM | This test method covers the instrumental color measurement of flax fiber | Cielab, color, color spectrophotometers, flax, flax fibers, spectrometers, standards | http://www.astm.org/Standards/D6961.htm
ASTM D7025 - 09(2015)e1 Standard Test Method for Assessing Clean Flax Fiber Fineness | 2015 | Biomaterials | English | ASTM | This test method provides two options that cover the determination of the fineness of clean loose flax fibers by: measuring the specific surface area by the resistance of a plug of flax fibers to air flow under prescribed conditions, or estimating the mass per unit length | density and relative density, fineness, flax, linear density, micronaire reading, size, surface area | http://www.astm.org/Standards/D7025.htm
ASTM D7028 - 07(2015) Standard Test Method for Glass Transition Temperature (DMA Tg) of Polymer Matrix Composites by Dynamic Mechanical Analysis (DMA) | 2015 | Biomaterials | English | ASTM | This test method covers the procedure for the determination of the dry or wet (moisture conditioned) glass transition temperature (Tg) of polymer matrix composites containing high-modulus, 20 GPa (> 3 × 106 psi), fibers using a dynamic mechanical analyzer (DMA) under flexural oscillation mode | dynamic mechanical analysis, fiber-reinforced polymers, glass transition temperature, reinforced plastics | http://www.astm.org/Standards/D7028.htm
ASTM D7076 - 10(2015)e1 Standard Test Method for Measurement of Shives in Retted Flax | 2015 | Biomaterials | English | ASTM | This test method covers the measurement of shives in retted flax. Shive is the woody core of the stem and has an important effect on quality determination. Shive content will vary depending on the stage of processing and can determine in what products the fiber can be used | flax, retted flax, shive content | http://www.astm.org/Standards/D7076.htm
ASTM D7078 / D7078M - 12 Standard Test Method for Shear Properties of Composite Materials by V-Notched Rail Shear Method | 2012 | Biomaterials | English | ASTM | This test method covers the determination of the shear properties of high-modulus fiber-reinforced composite materials by clamping the ends of a V-notched specimen between two pairs of loading rails. When loaded in tension, the rails introduce shear forces into the specimen through the specimen faces. In comparison, the specimen of Test Method D5379 is loaded through its top and bottom edges and D4255 utilizes an unnotched specimen clamped between two pairs of loading rails that are loaded in tension. | Charpy V-notched specimens, fiber-reinforced composites, laminates, shear strength, shear stress, shear test, stress and strain, test specimens and test engines | http://www.astm.org/Standards/D7078.htm
ASTM D7249 / D7249M - 16 Standard Test Method for Facing Properties of Sandwich Constructions by Long Beam Flexure | 2016 | Biomaterials | English | ASTM | Determination of facing properties of flat sandwich constructions subjected to flexure in such a manner that the applied moments produce curvature of the sandwich facing planes and result in compressive and tensile forces in the facings and includes those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb) | bend test, flexural modulus, flexural stiffness, flexural strength, flexural/bend strength, four-point bend test, honeycomb panels, manufacturing process, sandwich construction, sandwich panels, stiffness | http://www.astm.org/Standards/D7249.htm
ASTM D7250 / D7250M - 16 Standard Practice for Determining Sandwich Beam Flexural and Shear Stiffness | 2016 | Biomaterials | English | ASTM | Practice covers determination of the flexural and transverse shear stiffness properties of flat sandwich constructions subjected to flexure in such a manner that the applied moments produce curvature of the sandwich facing planes and includes those with continuous bonding surfaces (such as balsa wood and foams) as well as those with discontinuous bonding surfaces (such as honeycomb). The calculation methods in this practice are limited to sandwich beams exhibiting linear force-deflection response and uses test results obtained from C393 and/or D7249. | flexural stiffness, sandwich beams, shear stiffness, stiffness | http://www.astm.org/Standards/D7250.htm
ASTM D7641 - 10(2014)e1 Standard Guide for Textile Fibers | 2014 | Biomaterials | English | ASTM | This guide lists fibers used to manufacture textile products. Specific groups of fibers are identified using tables of standard classification | animal fibers, fabrics, man-made fibers, mineral fibers, synthetic fibers, textile products, vegetable fibers | http://www.astm.org/Standards/D7641.htm
ASTM D7879 - 13 Standard Test Method for Determining Flax Fiber Widths Using Image Analysis | 2013 | Biomaterials | English | ASTM | Test method involves the measurement and analysis of two-dimensional projections of flax fibers using image analysis software in the longitudinal plane to determine the average and distribution of fiber widths | computers and software, dimension, flax, flax fibers, image analysis software, measuring instrument, optical fiber diameter analyzers, physical test, width | http://www.astm.org/Standards/D7879.htm
ASTM E308 - 15 Standard Practice for Computing the Colors of Objects by Using the CIE System | 2015 | Biomaterials | English | ASTM | This practice provides the values and practical computation procedures needed to obtain CIE tristimulus values from spectral reflectance, transmittance, or radiance data for object-color specimens | Cie system, Cielab, color, numerical methods, opacity and transmittance, reflectance and reflectivity, spectral reflectance, spectral transmittance, standards, tristimulus integration | http://www.astm.org/Standards/E308.htm
ASTM E831 - 14 Standard Test Method for Linear Thermal Expansion of Solid Materials by Thermomechanical Analysis | 2014 | Biomaterials | English | ASTM | This test method determines the technical coefficient of linear thermal expansion of solid materials using thermomechanical analysis techniques. Coefficients of linear thermal expansion are used for design purposes and to determine if failure by thermal stress may occur when a solid body composed of two different materials is subjected to temperature variations | linear thermal expansion, solid specimens, test specimens and test engines, thermomechanical analysis | http://www.astm.org/Standards/E831.htm
ASTM E1640 - 13 Standard Test Method for Assignment of the Glass Transition Temperature By Dynamic Mechanical Analysis | 2013 | Biomaterials | English | ASTM | This test method covers the assignment of a glass transition temperature (Tg) of materials using dynamic mechanical analyzers and is applicable to thermoplastic polymers, thermoset polymers, and partially crystalline materials which are thermally stable in the glass transition region | dynamic mechanical analysis, dynamic mechanical analyzers, elasticity, glass transition temperature, modulus, plastics and rubber, polymers, testing instruments | http://www.astm.org/Standards/E1640.htm
ASTM E2160 - 04(2012) Standard Test Method for Heat of Reaction of Thermally Reactive Materials by Differential Scanning Calorimetry | 2012 | Biomaterials | English | ASTM | This test method determines the exothermic heat of reaction of thermally reactive chemicals or chemical mixtures, using milligram specimen sizes, by differential scanning calorimetry. Such reactive materials may include thermally unstable or thermoset materials and also determines the extrapolated onset temperature and peak heat flow temperature | differential scanning calorimetry, heat of reactions, thermal analysis, thermal and thermodynamic properties, thermosetting plastics | http://www.astm.org/Standards/E2160.htm
ASTM E2662 - 15 Standard Practice for Radiographic Examination of Flat Panel Composites and Sandwich Core Materials Used in Aerospace Applications | 2015 | Biomaterials | English | ASTM | This practice describes procedures for radiographic examination of flat panel composites and sandwich core materials made entirely or in part from fiber-reinforced polymer matrix composites | fiber-reinforced polymer matrix composites, flat panels, non-destructive evaluation, non-destructive examination, radiology, reinforced plastics, sandwich core materials, sandwich panels, sandwich structures | http://www.astm.org/Standards/E2662.htm